The Onity Integra lock has several codes that will indicate the status of the lock when a card is inserted and removed. There are only two lights on the lock a **RED** LED and a **GREEN** LED. Singly or in combination the lights can help diagnose a lock or explain why a card is not accepted. Below is a guide to help you understand the light codes.

| **CODE** | **DESCRIPTION** |
| --- | --- |
| http://reslife.bloomu.edu/assets/img/onity/1.gif | **Solid GREEN light, no RED light** Valid card inserted.(Door unlocks for four seconds or until the handle is turned) |
| http://reslife.bloomu.edu/assets/img/onity/2.gif | **Solid RED light, no GREEN light** Invalid card inserted.(Card expired, card not valid for door) |
| http://reslife.bloomu.edu/assets/img/onity/8.gif | **Solid GREEN light, blinking RED light** Low batteries.(Contact your CA immediately to have the batteries replaced) |
| http://reslife.bloomu.edu/assets/img/onity/3.gif | **RED light appears 6 seconds after card is removed, no GREEN light** Unreadable card inserted.(Card is blank, damaged or inserted incorrectly) |
| http://reslife.bloomu.edu/assets/img/onity/4.gif | **Solid GREEN and RED lights** Lock is waiting for user's PIN.(Red light turns off after valid PIN is inputted) |
| http://reslife.bloomu.edu/assets/img/onity/5.gif | **Blinking GREEN light, no RED light** Door is in an unlocked state, no card required to enter the room.(Lock remains unlocked until "double swipe" or automatic lock) |
| http://reslife.bloomu.edu/assets/img/onity/6.gif | **Blinking RED light, no GREEN light** Blocked door.(Door as been blocked from all users) |
| http://reslife.bloomu.edu/assets/img/onity/7.gif | **Alternating GREEN and RED lights** Deadbolt engaged or access outside of vaild time zone. |